**Failure to Submit a Disinfectant Level Quarterly Operating Report (DLQOR)**

**MONITORING, ROUTINE (DBP), MAJOR/CHLORINE**

The CHATFIELD WSC water system PWS ID 1750012 has violated the monitoring/reporting

Requirements set by the Texas Commission on Environmental Quality (TCEQ) in Title 30, Texas

Administrative Code (30 TAC), Section 290, Subchapter F. Public water systems are required to properly

Disinfect water before distribution, maintain acceptable disinfection residuals within the distribution

System, monitor the disinfectant residual at various locations throughout the distribution system, and

Report the results of that monitoring to the TCEQ on a quarterly basis.

Results of regular monitoring are an indicator of whether or not your drinking water is safe from

Microbial contamination.

This violation occurred in the monitoring period second quarter of 2020.

We are taking the following actions to address this issue:

Disinfectant residuals were taken during second quarter 2020 and were in Full compliance. However the

Report was submitted late. Therefore; Chatfield WSC will ensure report is submitted on time in the future.

Please share this information with all people who drink this water, especially those who may not have

Received this notice directly (i.e. people in apartments, nursing homes, schools, and businesses). You

Can do this by posting this notice in a public place or distributing copies by hand or mail.

If you have any questions regarding this matter, you may contact Jim Metcalfe at

(903)345-3463.

Posted/Delivered on: October 30, 2020